Two inspections have been carried out on this property, and the potential buyers requested the following items.  Other than the foundation, which is within spread, all items were remedied, including a new roof.

Termite treatment on front porch,

Repair dishwasher,

Correct water heater flue pipe in contact with insulation,

Add more insulation in attic

Repair duct seals,

Repair/seal furnace flue pipe,

Repair GFCI outlet in kitchen.

Full roof replacement

Repair foundation in affected areas of the dwelling (seller had two separate foundation inspections and the foundation is within range)

Installation of a gas flex line

Installation of a temperature/pressure (T/P) drain line

Installation of a drain line to the secondary pan

Installation of a dishwasher drain line

Installation of a dryer vent